G1 – Physical Access Controls

Document Reference: G1-PHYS-CTL  |  Version: 1.0  |  Date: 2024-10-01

COMPLIANCE LEVEL: SUBSTANTIAL (75%) — Some gaps identified

# 1. Physical Security Overview

SWIFT equipment is hosted in Tier III data centre (DC1) with the following physical controls.

| Control | Details |
| --- | --- |
| Access System | HID badge readers with PIN |
| Authorised Access List | Spreadsheet; review frequency ad-hoc |
| Visitor Management | Paper visitor log |
| CCTV | 24/7 IP CCTV; 90-day retention |
| Mantrap | Yes – server room entry |
| Alarm System | Motion + contact sensors; 24/7 monitoring |
| Key Holders | IT Security Manager + Data Centre Manager |

# 2. Gaps

Visitor management to be moved to electronic system. Authorised access list review frequency to be increased to quarterly.