G3 – Video Surveillance Evidence

Document Reference: G3-CCTV-EVD  |  Version: 1.0  |  Date: 2024-10-01

COMPLIANCE LEVEL: FULL (100%)

# 1. CCTV System Configuration

| Parameter | Details |
| --- | --- |
| System | Milestone XProtect Enterprise |
| Cameras – Server Room | 4 IP cameras covering all entry/exit points and aisles |
| Cameras – Corridor | 2 cameras covering access corridor |
| Cameras – Perimeter | 6 external cameras |
| Resolution | 1080p HD |
| Storage | Network Video Recorder (NVR); on-site + encrypted off-site backup |
| Retention | 90 days |
| Monitoring | 24/7 remote monitoring by security team |
| Last Maintenance | 2024-09-01 |