G3 – Video Surveillance Evidence

Document Reference: G3-CCTV-EVD  |  Version: 1.0  |  Date: 2024-10-01

COMPLIANCE LEVEL: SUBSTANTIAL (75%) — Some gaps identified

# 1. CCTV System Configuration

| Parameter | Details |
| --- | --- |
| System | Milestone XProtect Enterprise |
| Cameras – Server Room | 4 IP cameras covering all entry/exit points and aisles |
| Cameras – Corridor | 2 cameras covering access corridor |
| Cameras – Perimeter | 2 external cameras (incomplete coverage) |
| Resolution | 1080p HD |
| Storage | Network Video Recorder (NVR); on-site + encrypted off-site backup |
| Retention | 30 days |
| Monitoring | Business hours only |
| Last Maintenance | 2024-09-01 |

# 2. Gaps

Perimeter camera coverage incomplete. Retention to be extended to 90 days. 24/7 monitoring to be enabled.